## Slide 1: Solar Power Prediction for Grid Management
Problem type: Classification

## Slide 2
Problem Statement
Grid stability become strenuous because of inconsistent solar energy production that depends on Weather condition
If less solar energy is produced there is power shortage in the grid
If more is produced the power is wasted or storage through battery is very expensive
Such inconsistency leads to keep more redundancy from private plants, hence incur significant costs.
Assess Solar power production ahead of time
Decide whether there will be shortage in the grid or not
Keep backup generator ready or running during low production time

## Slide 3: MIST’s target is to forecast solar generation data for grid efficiency
Target
Solar Power
weather
Specification
Pressure
Temperature
Solar Irradiance
Sun’s position
Operation
Maintenance Records
Event records
etc
Identified the data required to address Target: Do Critical thinking on Target:
Model
Material
Capacity
Panel Size

## Slide 4: Solar Generation History Data.

## Slide 5
So lets Run with a Robot AI…..

## Slide 6: Get the Decision with 4 Steps
Login
Create a project Energy, Solution Name “Solar Generation” solution type: regression Click create solution
Upload solar_power_generation_train.csv data
A variable list will show up click on skip
Select target. Choose “Power Generated” as your target
A window will pop up asking you run the preliminary analysis or not. Press Yes Button
Preliminary analysis will run-see result in Confusion matrix chart and Prediction KPI for error
Press Next land in “build Model page
Data
Select Variables
  Uncheck variable day, month, year, week, season
Select Algorithm
Click on Train
Click on Finalize
You will land on Deploy page
Build Model

## Slide 7: Get the Decision with 4 steps
Click on Add data
upload new data, from CSV source from you solar_power_generation_train.csv file
A variable list will show up click on skip
Go to Data Post Process
Create 3 equation by clicking on create custom variable
  Action:
  Power > Storage_threshold = Send to storage
  Power_generation < storage threshhold = “Send to Grid”
  Power Backup: Power_generation < storage threshold, find backup generator
Go to Result Configuration
  Check download as CSV
Select Algorithm
Press “Predict”, prediction will be running
Press Next you will land in Decision Page
Deploy
Select Decision Scenario Tab
  Change slider value for different variables
  Press Apply
Do the step until Target or Target desired value is higher or lower or middle
Decision